## Castlewood
Location: Castlewood |  | Score: %
Solid and Food Waste Handling | Points | Information
Solid waste dumpster closed and in good shape
Point Value 2 points
Grease Container – Free of spillage on or around container
Point Value 2 points
Grounds and surrounding area free of litter
Point Value 1 point
Adequate trash and recycling containers available
Point Value 1 point
Chemical Handling and Storage
Feed tanks and chemical storage have containment adequate to prevent discharge to stormwater system or environment
Point Value 3 points
Feed tanks, hoses, and meter pumps are leak free
Point Value 3 points
Acid neutralizing agents are available
Point Value 1 point
Maintenance Practices
Pumps, tanks and pipes properly labeled
Point Value 2 points
Pumps, pipes, or equipment free of leaks discharging to storm system
Point Value 3 points
Operational Practices That Could Impact Stormwater
Fountains or spray features contained and returned to pool, pool not overflowing to deck drains
Point Value 5 points
Area is free of vegetation or stream stress caused from chlorinated water discharges
Point Value 10 points
Drainage of Chlorinated Water That Could Impact Stormwater
Valves in proper position that discharges are directed to sanitary sewer and not storm system
Point Value 5 points
Total Points (36 possible) | 0
Previous Year Summary
Previous Score 100%
Summary and photographs– Condition described below.