## Lakeside
Location: Lakeside |  | Score: %
Solid Waste Handling | Points | Information
Solid waste dumpster closed and in good shape
Point Value 2 points
Grounds and surrounding area free of litter
Point Value 1 point
Adequate trash and recycling containers available
Point Value 1 point
Universal waste, used oils and containerized waste properly stored and labeled
Point Value 1 point
Chemical Handling and Storage
Fuel storage tanks have containment and/or shelter adequate to prevent discharge to stormwater system or environment
Point Value 3 points
Fuel tank components working and in good shape
Point Value 3 points
Chemical containers stored outside are covered, contained, closed, labeled and in good shape
Point Value 1 point
Pesticides and fertilizers stored and handled properly
Point Value 3 points
Spill response supplies readily available
Point Value 1 point
Maintenance Practices
Equipment stored outside clean, leak free or contained
Point Value 2 points
Maintenance activities conducted indoors when possible
Point Value 1 point
Oil/water separators, sanitary and storm sewer inlets cleaned and maintained
Point Value 2 points
Pesticide application records are being maintained
Point Value 1 point
Operational Practices That Could Impact Stormwater
Spills, leaks and drips cleaned up immediately
Point Value 2 points
Area is free of vegetation stress and erosion areas
Point Value 2 points
Total Points (26 possible) | 0
Previous Year Summary
Previous Score 100%
Other not specified and photographs– Condition described below.